Unit Walkthrough - Marco Moreno

#206:

* Strong Roach Chemical Smell
* Little dead snake
* Good conditions

#220:

* AC not working
* Bad Smell
* No Water Pressure
* Messed up Mirror
* Tub Faucet stopper Stuck

#613:

* Dirty
* Smoke Alarm Disconnected
* Old Toilets
* Maintenance Punch on Bathrooms

#707:

* Master Bedroom Fan Not Working

#1501

* Dirty Carpet
* Guest Bathroom shower head off
* Holes in wall in guest bedroom

#1201

* Bondo Patches from Previous Resident
* Roaches Dead & Alive

#2210

* Paint Garage
* Smoke Alarms 3rd floor beeping
* Drawer next to dishwasher stuck in rails
* Trash bin on balcony
* Master Bath toilet clogged
* W/D Disconnected

#2105

* AC not Working
* Old light mismatch

#1901 – TARGET UNIT

* Maintenance Punch
* 3rd Floor not cooling
* Dead Roaches
* Dirty

r

#2510

* Very Dirty Carpet
* Strong Pet Urine Smell
* Water stain in Kitchen Light
* AC very Rusted
* Very Dirty Unit